## DataChart Price List 2022
DataChart™ DC6000
DataChart 6- or 12-Channel Paperless Recorder 3/8 DIN with the following standard features include: 5.6" color LED backlit display with touch screen and integral stylus, Compact Flash Drive (front), USB thumb drive port (front), USB master (rear), USB slave (rear)2 GB internal memory, mouse/keyboard connection (rear), Audio: Line in, Line out, Microphone (rear), RJ45 Ethernet port (rear), and NEMA 4/IP65 front bezel with locking media drive door.
To specify your DataChart, complete the model number in the blocks below and enter pricing for each block.
DC6000 Field Upgradeable Options
PART NUMBER | LIST PRICE | MODEL | DESCRIPTION
5380-809 | 575 | 12CH-Analog | 12-Channel input module with connectors
5380-808 | 375 | 6CH-Analog | 6-Channel input module with connectors
5380-801 | 250 | 6-FormA | 6 Form A relay output module with connectors
5380-802 | 350 | 12-FormA | 12 Form A relay output module with connectors
5380-803 | 150 | 24-TP | 24 V DC transmitter power supply module with connector
Compact Flash Memory Cards
PART NUMBER | LIST PRICE | MODEL | DESCRIPTION
4380-165 | 65 | Memory Card 1GB | MC1024MBCF - 1 gigabyte
4380-166 | 80 | Memory Card 2GB | MC2048MBCF - 2 gigabytes
DC6000 Accessories
PART NUMBER | LIST PRICE | MODEL | DESCRIPTION
5380-270 | 249 | Exhibitor Software | Windows XP/Vista compatible software program
5380-1.1.0 | 325 | Exhibitor SE | 21CFR11 Compliant Windows XP/Vista Compatible software
6380-CAL-6 | 450 | NIST 6000 | NIST Traceable Certificate of Calibration with documentation
5000-100 | N/C | 21CFR CS | 21CFR 11 Compliance Statement
5380-1.00.4 | 500 | 21CFR CD | 21CFR11 IQ/OQ/PQ Validation Package
5380-152 | 10 | MAS50R Shunt Resistor | 50 ohm external shunt resistor, 0.1% accuracy
5380-810 | 179 | CC-8 Case | Padded nylon carrying case with shoulder strap
5380-102 | 50 | CFCR | Compact Flash Card Reader, USB 2.0 compatible
5380-804 | 45 | Audio Splitter | Splitter for audio port with cable
5380-805 | 69 | Keyboard Splitter | Splitter for keyboard and mouse port with cable
5380-806 | 10 | Stylus Pak | Stylus (3-pack)
5380-807 | 10 | Keys | Replacement media flap key (pair)
5380-811 | 400 | NEMA6000 | Indoor wall mount NEMA cabinet, 11"x18"x16" (DxHxW)
5380-812 | 100 | USB WNA | Wireless N USB Network Adapter, 2.4 GHz 802.11b/g/n
6180-056 | 165 | ROS-W | Remote Optical Sensor with 8 ft. cable and bracket
5380-510 | 550 | LP202 Vibration Transmitter | Vibration Transmitter with 20 ft. cable
5380-511 | 75 | DIN Rail 24 Vdc Power Supply | 24 V dc 1500 mA; input power 120/240 V ac, 50/60 Hz
DataChart™ DC1250
DataChart 1250 2 Channel Paperless Recorder, 1/8 DIN, Monochrome Display
To specify your DataChart, complete the model number in the blocks below and enter pricing for each block.
DC1250 Sensor Options
PART NUMBER | LIST PRICE | MODEL | DESCRIPTION
5380-505 | 265 | THP-W Temp./Humidity Probe | Temperature/humidity probe with 8 ft. cable
5380-505-CAL | 364 | THP-CAL | Temperature/humidity probe with cable; includes NIST Certificate
6180-056 | 165 | ROS-W | Remote optical sensor with 8 ft. cable, mounting bracket, and 12 in. of reflective tape
6180-037 | 243 | MT-190W | Magnetic trigger sensor/amplifier with 8 ft. cable
6180-021 | 231 | IRS-W | Infrared sensor with 8 ft. cable tinned wires and mounting bracket
5380-510 | 550 | LP202 Vibration Transmitter | Vibration Transmitter with 20 ft. cable
5380-511 | 75 | DIN Rail 24 Vdc Power Supply | 24 V dc 1500 mA; input power 120/240 V ac, 50/60 Hz
Compact Flash Memory Cards
PART NUMBER | LIST PRICE | MODEL | DESCRIPTION
4380-165 | 65 | Memory Card 1GB | MC1024MBCF - 1 gigabyte
4380-166 | 80 | Memory Card 2GB | MC2048MBCF - 2 gigabytes
DC1250 Accessories
PART NUMBER | LIST PRICE | MODEL | DESCRIPTION
5380-260 | 99 | Navigator Software | Windows-compatible software for graphic analysis, priting, file transfer, and exporting
| N/C | Navigator Lite | Lite version of software allows viewing of data in table format and exporting; version is included with Recorder
DC1250-NIST | 150 | CAL-NIST | NIST Traceable Certificate of Calibration with documentation
5380-152 | 10 | MAS50R Shunt Resistor | 50 ohm external shunt resistor, 0.1% accuracy
5380-102 | 50 | CFCR | Compact Flash Card Reader, USB 2.0 compatible
5380-331 | 45 | PSC-2UW Power Supply | Replacement standard 120/240 V ac wall adapter with interchangeable plug set (US, Euro, UK, and AUS)
Terms and Conditions
Placing An Order: Orders may be placed with your Monarch Instrument distributor or directly with Monarch Instrument in Amherst, NH via fax, email, U.S. Mail or at www.monarchinstrument.com. Telephone orders must be confirmed in writing by one of these methods. The order should contain the Monarch model and item numbers, quantity, price, purchase order number, shipping and billing addresses, method of payment, preferred shipping method and required delivery date. Also include a contact name with a corresponding email, phone and fax number. Upon receipt of the order, Monarch provides a confirmation of the order, if requested. Prices are F.O.B. Amherst, New Hampshire and subject to change without notice. All product sales are subject to the terms and conditions of sale set forth on Monarch Instrument’s Invoice.
Expedite Fee: | Orders received before 12:00 P.M. EST may be shipped same day, if the product is in stock, for a fee of $50.00.
Minimum Order: | A $50.00 net minimum order amount applies to all orders.
Re-stocking Fee: | A minimum 15% re-stocking fee will be charged for items returned for credit.
Credit Terms: | Credit terms are granted at the sole discretion of Monarch Instrument. Unless credit is approved in advance, Buyer agrees to accept delivery and pay by company check or cash for UPS C.O.D. shipments or utilize a credit card. New accounts seeking credit approval for subsequent orders should include bank and three trade references with a purchase order. Credit approvals on new accounts are limited to orders over $500.00 and may delay shipments by 5 days. If an account is established, full payment is due Net 30 Days after invoice date. Monarch Instrument accepts Visa, MasterCard, American Express, PayPal, and Discover to simplify the handling of orders. Payments made by credit card for approved active/open accounts with terms will be charged a 3.5% processing fee (5% for American Express). Late invoices: a charge of 1.5% interest per month will to applied to late invoices per Monarch finance/management discretion.
Repair and Calibration Service Policy: All items being returned to Monarch Instrument for repair and/or calibration must have an RMA Number and be shipped prepaid by customer. Items accepted for Warranty repair are serviced at no charge in accordance with the terms of Monarch Instrument’s Warranty policy. Repair charges for physically damaged or out of warranty items will be quoted at the time the RMA number is evaluated. Payment for out of warranty repairs shall be in accordance with terms stated above. All items returned to Monarch, but found to have no problem, will be subject to a $125.00 evaluation fee. If a customer chooses not to repair a unit but would still like the unit returned the minimum evaluation fee still applies.
For questions, email support@monarchinstrument.com. To get an RMA#, please call 1-800-999-3390 and ask for Customer Service or visit www.monarchinstrument.com.
Return To: | Monarch Instrument
Attn: Repair Department RMA# XXXXX
15 Columbia Drive
Amherst, NH 03031-2334 USA
Example Model #: DC6-1-06-1-0-3-1 = $X,XXX.00
Example Model #: DC1250-U-1-1 = $864.00